Problem 1:(Fault occurs in BUS 3)

Figuer1: Fault Analysis problem 1

# Determine the fault current, the bus voltages, the bus voltages, and the line currents during the fault when a balanced three-phase fault with a fault impedance Zf=0.16 per unit occurs on.

Experimental data table:

At  Zf = 0.0 ohm

| Number | Name | Phase Volt A | Phase Volt B | Phase Volt C | Phase Ang A | Phase Ang B | Phase Ang C |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BUS1 | 0.65723 | 0.65723 | 0.65723 | 2.06 | -117.94 | 122.06 |
| 2 | BUS2 | 0.62017 | 0.62017 | 0.62017 | 15.49 | -104.51 | 135.49 |
| 3 | BUS3 | 0 | 0 | 0 | 90 | 90 | 90 |

At Zf =0.16 ohm

| Number | Name | Phase Volt A | Phase Volt B | Phase Volt C | Phase Ang A | Phase Ang B | Phase Ang C |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BUS1 | 0.77333 | 0.77333 | 0.77333 | 2.02 | -117.98 | 122.02 |
| 2 | BUS2 | 0.74856 | 0.74856 | 0.74856 | 9.5 | -110.5 | 129.5 |
| 3 | BUS3 | 0.33748 | 0.33748 | 0.33748 | 5.7 | -114.3 | 125.7 |

Fault Current,Subtransient phase Current(p.u,deg):

Problem 2:(Fault occurs in BUS 3)

Figuer 2: Fault Analysis problem 2

# Determine the fault current, the bus voltages, the bus voltages, and the line currents during the fault when a balanced three-phase fault with a fault impedance Zf=0.19 per unit occurs on.

Experimental data table:

At  Zf = 0.0 ohm

| Number | Name | Phase Volt A | Phase Volt B | Phase Volt C | Phase Ang A | Phase Ang B | Phase Ang C |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BUS1 | 0.75 | 0.75 | 0.75 | 0 | -120 | 120 |
| 2 | BUS2 | 0.75 | 0.75 | 0.75 | 0 | -120 | 120 |
| 3 | BUS3 | 0 | 0 | 0 | 90 | 90 | 90 |

At  Zf = 0.19 ohm

| Number | Name | Phase Volt A | Phase Volt B | Phase Volt C | Phase Ang A | Phase Ang B | Phase Ang C |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BUS1 | 0.86047 | 0.86047 | 0.86047 | 0 | -120 | 120 |
| 2 | BUS2 | 0.86047 | 0.86047 | 0.86047 | 0 | -120 | 120 |
| 3 | BUS3 | 0.44186 | 0.44186 | 0.44186 | 0 | -120 | 120 |

Fault Current, Subtransient phase Current(p.u,deg):

Problem 3:(Fault occurs in BUS 4)

Figuer3: Fault Analysis problem 3

# Determine the fault current, the bus voltages, the bus voltages, and the line currents during the fault when a balanced three-phase fault with a fault impedance Zf=0.16 per unit occurs on.

Experimental data table:

At  Zf = 0.0 ohm

| Number | Name | Phase Volt A | Phase Volt B | Phase Volt C | Phase Ang A | Phase Ang B | Phase Ang C |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BUS 1 | 0.6 | 0.6 | 0.6 | 0 | -120 | 120 |
| 2 | BUS 2 | 0.65 | 0.65 | 0.65 | 0 | -120 | 120 |
| 3 | BUS 3 | 0.38 | 0.38 | 0.38 | 0 | -120 | 120 |
| 4 | BUS 4 | 0 | 0 | 0 | 90 | 90 | 90 |

At  Zf = 0.0225 ohm

| Number | Name | Phase Volt A | Phase Volt B | Phase Volt C | Phase Ang A | Phase Ang B | Phase Ang C |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BUS 1 | 0.60866 | 0.60866 | 0.60866 | 0 | -120 | 120 |
| 2 | BUS 2 | 0.64074 | 0.64074 | 0.64074 | 0 | -120 | 120 |
| 3 | BUS 3 | 0.38091 | 0.38091 | 0.38091 | 0 | -120 | 120 |
| 4 | BUS 4 | 0 | 0 | 0 | 0 | -116.57 | 116.57 |

Fault Current,Subtransient phase Current(p.u,deg):